SPECIFICATION

Sections 07 90 00 / 07 95 00

THERMAFLEX by EMSEAL

Watertight Traffic Bearing Deck Expansion Joint

Membrane/Nosing System

***Note to Specifier: THERMAFLEX is available in two models: TM and TCR.  TM utilizes a double-cell gland and TCR utilizes a multi-cell gland. Please consult THERMAFLEX tech data sheets or contact EMSEAL tech assistance at 800-526-8365 to determine the best configuration for the project.

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing waterproof expansion joints in accordance with the details shown on the plans and the requirements of the specifications. The expansion joint shall be a blockout-mounted chemically anchored extruded rubber gland/nosing system.

- Related Work

- Division 3 - Cast-in-Place Concrete

- Division 7 - Thermal & Moisture Protection

- Division 7 - Sealants, Caulking and Waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Submittal Package – Submit typical expansion joint drawings(s) indicating pertinent dimensions, general construction, expansion joint opening dimensions and product information.

- Sample of material is required at time of submittal.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers. Handle and protect as necessary to prevent damage or deterioration during shipment, handling and storage. Store in accordance with manufacturer’s installation instructions.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by: (USA & International) EMSEAL JOINT SYSTEMS, LTD 25 Bridle Lane, Westborough, MA 01581-2603, Toll Free: 800-526-8365. (Canada) EMSEAL, LLC 120 Carrier Drive, Toronto, Ontario, Canada M9W 5R1 Toll Free: 800-526-8365.  www.emseal.com

- Alternate manufacturers must demonstrate that their products meet or exceed the design criteria. Submittal of alternates must be made three weeks prior to bid opening to allow proper evaluation time.

  - Quality Assurance

- The General Contractor will conduct a pre-construction meeting with all parties and trades involved in the treatment of work at and around expansion joints including, but not limited to, concrete, mechanical, electrical, HVAC, landscaping, masonry, curtain wall, waterproofing, fire-stopping, caulking, flooring and other finish trade subcontractors. All superintendents and foremen with responsibility for oversight and setting of the joint gap must attend this meeting.  The General Contractor is responsible to coordinate and schedule all trades and ensure that all subcontractors understand their responsibilities in relation to expansion joints and that their work cannot impede anticipated structural movement at the expansion joints, or compromise the achievement of watertighness or life safety at expansion joints in any way.

- The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, blockout, vertical offsets, etc.) that may affect expansion joint system performance.

- Warranty – Manufacturer’s standard warranty shall apply.

## PART 2 – PRODUCT

  - General

- Provide traffic durable, watertight, expansion joint by EMSEAL JOINT SYSTEMS for expansion joints and isolation joints in decks.  Typical locations include, but are not limited to the following: applications for joints over occupied space, parking deck joints, stair tower perimeters, elevator perimeters, stadium tread and risers, stadium concourses, and solid slab structural expansion joints.  System shall perform waterproofing, traffic bearing and movement-accommodation functions.

- Provide THERMAFLEX TM or TCR as manufactured by EMSEAL JOINT SYSTEMS LTD and as indicated on drawings for horizontal expansion joint locations.

- Expansion joint system shall be comprised of: 1.) a heat-weldable, santoprene, thermoplastic-rubber, double-celled or multi-celled, extrusion with perforated flanges and, 2.) manufacturer’s cold applied elastomeric nosing.

- Elastomeric nosing shall be a two-part polyurethane material (epoxies not permitted) mixed with aggregate with sand particles not to exceed 30-mesh. Nosing material shall be pourable grade material capable of encapsulating the perforated flanges in a single pour without the laying of a setting-bed or tack coat. The material shall flow so as to fill voids or irregularities in concrete blockouts and beneath the perforated flanges of the gland. Material shall cure to flexible (non-rigid) state. So as to ensure proper mixing, flow ability, and consolidation, mixed nosing material shall have an aggregate loading ratio by weight of liquid resin to aggregate not exceed 1:2.

- System to be installed into blockouts on each side of the joint-gap prepared to the dimensions of ¾” deep x 3” wide (20mm deep x 75 mm wide) for TM and ¾” deep x 3 1/2” wide ( 20mm deep x 90mm wide) for TCR.

- Final selection of the seal size to be coordinated between manufacturer, designer, and contractor(s) in consideration of expected movements as a product of structural design and expected temperature variations, taking into account as-built joint-gap sizes and temperatures at expected installation time. Width of joint-gaps at time of casting or cutting to be adjusted, if necessary, from baseline temperature used and specified by designer in determining system suitability.

- Manufacturer’s Checklist must be completed by expansion joint subcontractor and returned to manufacturer at time of ordering material.

  - Fabrication

- Directional changes and terminations into vertical plane surfaces (walls, parapets, ends of decks, etc) as well as to transition the material through curbs, treads and risers or other in-slab plane changes to be provided by factory-manufactured assemblies that preserve continuity of seal. Transitions between THERMAFLEX and any other of Manufacturer’s joint systems in the vertical plane to be executed according to Manufacturer’s details and to be warranted as watertight.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The contractor shall provide properly formed and prepared expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings. Deviations from these dimensions will not be allowed without the written consent of the engineer of record.

- The contractor shall clean the joint opening of all contaminants immediately prior to installation of expansion joint system. Repair spalled, irregular or unsound joint surfaces using accepted industry practices for repair of the substrates in question. Remove protruding roughness to ensure joint sides are smooth. Refer to Manufacturers Installation Guide for detailed step-by-step instructions.

- System to be installed by qualified sub-contractors only according to detailed published installation procedures and/or in accordance with job-specific installation instructions of manufacturer’s field technician. Bids must include for presence of paid-for manufacturer’s field technician to be present during initial preparation, inspection, and material installation.

  - Clean and Protect

- Protect the system and its components during construction. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION