SPECIFICATION

Section 07900

#### “ME” Series – Generation II

WaboCrete® Membrane Expansion Joint System

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications. The joints are proprietary designs utilizing extruded elastomeric seals, elastomeric concrete headers, wall attachment hardware and “stay-in-place” forms. In the event of any discrepancy between the contract drawings and specifications, the specifications shall govern.

B.	Related Work

- Concrete Repair

- Cast-in-place concrete

- Traffic Deck Coatings

- Sealants and caulking

1.02	Submittals

A.	Standard Drawings and Reports - Submit typical expansion joint cross-section(s) indicating pertinent dimensioning, general construction, blockout dimensions and product data information. Approved Applicators shall prepare and submit additional project specific details with the involvement of the manufacturer of all special conditions for review and approval by the engineer prior to installation. All submittals must be accompanied by manufacturer’s technical documents that validate enhanced movement capabilities and mechanical properties of the proposed system. Manufacturer’s incomplete submittal will result in product rejection.

1.03	Product Delivery, Storage and Handling

- Deliver products in manufacturer's original, intact, labeled containers, pallets or bundles and store under shelter in a dry location with temperatures above 40°F until installed. Store off the ground, protect from freezing, direct sun exposure in elevated temperatures and construction activities.

1.04	Acceptable Manufacturers

A.	All joints shall be as manufactured/supplied by 25 Bridle Lane, Westborough, MA 01581 USA

B.	Alternate manufacturers and their products will be considered provided they meet or exceed all design capabilities of the specified product and requirements of the project. Alternate manufacturers are required to submit manufacturer’s third party independent test reports that validate enhanced movement capabilities and mechanical properties of the proposed system. Manufacturer’s letters internally authored will not be accepted as a substitution for the independent party test reports.

- Any proposed voluntary alternate must be submitted and received by the engineer and approved 21 days prior to the bid.  All post bid submissions will not be considered. This submission shall be in accordance with MATERIALS AND SUBSTITIONS.

- Any manufacture wishing to submit for prior approval must provide the following:

- A working 12-inch sample of the proposed system with a letter describing how the proposed system’s features is considered superior to the specified system.

- A project proposal drawing illustrating the recommended alternate system installed in the application, specific to the project.

- Product data of the proposed concrete repair materials intended to be used in conjunction with the expansion joint.

- A video of the seal profile(s) showing full inward and outward enhanced movement capabilities in accordance with ASTM E1399 Class IV cycling requirements without cohesive or adhesive failure or separation from the elastomeric concrete header. Video shall show the elastomeric seal profile(s) remaining flat during the full movement cycle.

- A letter indicating that the proposed expansion joint supplier and manufacturer of the blockout repair materials will jointly warrant the new expansion joint installation for a period no less than 5 years.

- Verifiable list of prior installations showing prior and successful experience with the proposed system.

- Any substitution products not adhering to all specification requirements within, will not be considered.

1.05	Quality Assurance

A.	Warranty: Standard material limited warranty or project specific warranty available. Installation shall be in strict accordance with manufacturer’s technical specifications, details, installation instructions and general procedures in effect for normal intended usage and suitable applications under specific design movements and loading conditions.

B.	Manufacturer: Shall have a minimum ten (10) years experience specializing in the design and manufacture of expansion control systems.

C.	Products: Expansion control systems shall be installed with manufacturer’s blockout repair and infill materials.

D.	Application: Minimum 2 years [documented] experience in work of this Section.

##### PART 2 - PRODUCT

2.01 	General

Provide a durable watertight expansion control system that is capable of accommodating unforeseen outward structural movements (ie: seismic, shrinkage, creep or other unknown movements) beyond its relaxed width (see Table 1) without sacrificing performance and water tightness. System shall consist of heavy-duty preformed thermoplastic rubber profiles incorporating integral serrated side flanges and heavy-duty integral solid rubber bulkheads that extend 7/16” (min.) on to edge of slab for transfer of wheel loads. Cast elastomeric profile into a preformed concrete blockout by utilizing manufacturer’s ambient cure gray elastomeric concrete header.

Table 1 (Gen II Profiles - Enhanced Movements including Seismic)

ME-250, 300 and 600   100% beyond seal profiles relaxed width.

ME-450, 700 and 850     83%                        “

The thermoplastic rubber seal profile shall demonstrate enhanced movement capabilities and will be sized to accommodate the total range of movement as dictated by the specifier at each joint location. The seal profile will be permitted to expand beyond it’s relaxed width to accommodate unforeseen outward thermal and seismic movement cycles. Exposed surfaces are to remain level and flush across the ribbed areas to accommodate pedestrian foot traffic. Deck-to-wall profiles will exhibit a vertical 2” integral flange that will be sealed and mechanically attached to the wall surface for a watertight application. For irregular wall surfaces installer to utilize manufacturer’s proprietary “stay-in-place” metallic form that will accept ¾ inch thick elastomeric concrete header.

Furnish WaboCrete Membrane Generation II, “ME” Series deck-to-deck and deck-to-wall seal profiles at locations requiring a watertight installation as manufactured by Sika Emseal and as indicated in the contract documents.

2.02	Components and Materials

A.	Thermoplastic Rubber Seals Profiles (Elastomeric Seal)

Provide seal profile as specified and indicated in the contract documents and specifications. Profile design shall incorporate symmetrical cellular cavities and integral serrated side flanges with factory punched holes that interlocks the profile into the elastomeric concrete header material. Exposed surface of seal profile shall incorporate solid integral load transfer bulkheads that resist rotation during installation. Profile’s exposed walking surface shall utilize a combination of flat ribs with radiused edges adjoining shallow V-grooves that work together to provide a pedestrian friendly flush surface during the complete thermal movement cycle. Seal profiles shall exhibit the following minimum internal web thicknesses.

.156”  ME-700 thru ME-850

.128”  ME-300 thru ME-600

.094”  ME-250

- Provide seal profile that meets or exceeds the enhanced movement values as published in the specified manufacturers typical system cut sheets and product data sheets.

Material shall meet the physical and performance properties indicated below:

| PHYSICAL PROPERTIES | ASTM TEST METHOD | Requirement |
| --- | --- | --- |
| Shore A Hardness | D-2240 | 63 |
| Tensile Strength, min | D-412 | 986 psi |
| Ultimate Elongation, min | D-412 | 570% |
| 100% Modulus | D-412 | 363 psi |
| Tear strength, average | D-624 | 29.0 kN/m |
| Compression Set, 22 hours | D-395B | 17% @ 23°C |

| PERFORMANCE PROPERTIES | #### TEST METHOD | #### Results |
| --- | --- | --- |
| Ozone Resistance | ASTM D-1171 | excellent |
| UV Resistance | SAE J1960 | excellent |

C.    Elastomeric Concrete Header   (WaboCrete Parking Series)

Material shall be an ambient cure, 100% solids, two component polyurethane with pregraded aggregate mix exhibiting the physical properties listed in the tables below.  When properly mixed and poured, the elastomeric concrete cures rapidly, flows and fills any voids, spalls or irregularities forming a monolithic unit.

Base Color: Gray

1.  Elastomeric cured binder and aggregate shall meet the following physical properties:

PHYSICAL PROPERTIES      ASTM METHOD       REQUIREMENTS          TEST RESULTS

Compressive Strength             D695 Mod                    2200                             2723 psi

Resilience at 5% deflection      D695                             90 (min.)                         96.7%

Adhesion to concrete:              C190

Dry Bond                                                  400                              451.3 psi

Wet Bond                                                  250                             353.9 psi

Impact Resistance                  Steel ball drop (.375” th. Disc / dry steel plate)

At  -20 deg F(-29C)                                         no cracks at 5 ft                7.0 ft-lbs

At   32 deg F (0C)                                            no cracks at 5 ft              10.0 ft-lbs

At 158 deg F (70C)                                          no cracks at 5 ft              10.0 ft-lbs

D.	Bonding Agent

Provide manufacturer’s two component, 100 percent solids bonding agent and apply to the sides and base of the preformed blockouts prior to placement of WaboCrete Parking Series elastomeric concrete header. Store, mix and apply in accordance with manufacturer’s system data sheet.

Liquid components shall be identified by the following information:

Part A - Resin; Color:  Clear

Part B - Activator; Color:  Tan

E.	Accessories - Provide necessary and related system components including broadcast aggregate, fabricated wall mount plates and/or “stay-in-place” forms with appropriate stainless-steel anchors and sealants where required for complete installation.

2.03		Fabrication

A.	Thermoplastic Rubber Seal Profile - Ship in the longest practical continuous length in manufacturer’s standard shipping carton or on wooden pallets shrink wrapped and labeled.

B.	Joint Seal Directional Changes - At all horizontal or vertical changes in direction provide seals with factory heat welded splices such as 90° corners, tees and crosses. The seal shall extend a minimum of 2’-0” in each direction from the factory splice.

Only straight, butt splice connections shall be allowed on the jobsite following manufacturers written instructions utilizing specialty heat fusing equipment or the manufacturer’s specialty splicing primer and adhesive.

All factory and field fused connections shall incorporate bonding of the complete seal profile. This includes fusing of all internal and external web configurations. Undercutting or back cutting seal profiles will not be permitted.

C.	Elastomeric Concrete Header - Activator packaged in one-half gallon containers (Part A), resin packaged in gallon containers (Part B) and 60 pound containers of aggregate (Part C) on shipped wooden pallets, shrink wrapped.

D.	Wall Mount Metallic Profiles (standard corner condition) – Extruded aluminum termination bar (part #3091) with ¼” dia. stainless steel hex head tapcon screw anchor (part #6542).   Standard 10 ft long profiles shall be cut to length in the field where conditions dictate, and miter cut to conform to directional changes unless otherwise contracted with expansion joint manufacturer to shop fabricate.

Wall Mount Metallic Profiles (optional “stay-in-place” form, corner condition)                - prefabricated 18ga. galvanized (st’d) or optional stainless steel metal profile with ¼” dia. stainless steel hex head tapcon screw anchor (part #6542). Standard 10 ft long profiles shall be cut to length in the field where conditions dictate, and miter cut to conform to directional changes unless otherwise contracted with expansion joint manufacturer to shop fabricate.

2.04	Finishes

A.	Thermoplastic Rubber Membrane Seal shall be supplied in standard color:  Black.

B.	Elastomeric Concrete Header shall be supplied in standard base color: Gray.

Note: Final standard exposed finish to include broadcasting a medium grit gray granule aggregate to exposed surfaces of the header material. Remove excess after header has fully cured. Consult manufacturer for recommended header set times before applying granules.

PART 3 - EXECUTION

3.01	INSTALLATION

A.	Preparation of the Work Area

1.	The contractor shall provide a properly formed, solid concrete blockout per the manufacturer and project requirements. Any edge or area in need of repair shall utilize one of Sika’s recommended concrete repair materials to provide a structurally sound and square edge of slab blockout. Note: to reduce down time WaboCrete Elastomeric Concrete Header may be used as an optional concrete blockout repair material. Consult manufacturer’s field service tech team for additional information.

2.	The contractor shall clean the concrete blockout of all contaminants and impurities by abrasive blasting immediately prior to WaboCrete Membrane installation. Concrete form release agents, water repellents, laitance, surface dirt and rust, all old sealants and other surface treatments and protective coatings are examples of materials which must be removed from the blockout substrate surface in order to obtain the proper WaboCrete Parking Series elastomeric concrete header bond.

3.	Areas adjacent to the joint must be masked with tape to assure neat, clean joint lines.

4.	The blockout area must be completely dry for the application of WaboCrete Parking Series. Concrete must be cured a minimum of 14 days prior to placement of WaboCrete. Wabo®Bonding Agent must be applied to blockout just prior to placement of WaboCrete Parking Series. When the use of patching compounds is required for blockout repair, follow manufacturer’s guidelines for the recommended cure times prior to placement of WaboCrete Parking Series.

5.	The blockouts must be made to the dimensions and elevations shown on the standard system drawings. Deviations from these dimensions will not be allowed without the written consent of Sika Emseal.

6.	The membrane seal element shall be unpacked and laid in a relaxed position to relieve any temporary coiling from shipment packaging prior to placement, the winged flanges of the gland element shall be wiped with an acceptable non-petroleum solvent cleaner such as Xylol (Xylene).

- Mix all WaboCrete Parking Series components and install membrane system in strict accordance with current installation guidelines. Installing contractor shall confirm that they are in possession of the latest installation instructions prior to beginning work.

- After placement of elastomeric concrete header wait 2-3 minutes or otherwise directed by Sika Emseal Field Service Technician and broadcast aggregate to top surface of elastomeric concrete header. Broadcast to refusal and allow to cure. Remove excess in a neat and workmanlike manner.

3.02	CLEAN AND PROTECT

Protect WaboCrete Membrane System during construction. Construction vehicles and equipment will not be permitted to cross the joint without temporary cover and adequate protection. Mechanical damage to the new expansion joint system shall be repaired at the contractor’s expense.